Methodology Selection Tab

- Preferred weightings (Drop-down list: Default, User-defined) --- If "Non-EU" is selected, "Preferred weightings" is forced to "User-defined" [JSON HasDefaultWeightings true=Default False=User-defined]

- Preferred Service Catalogue (Drop-down list: Method A, Method B) [JSON Method]+ [Every service defined in the “MethodAServiceEnum” or “MethodBServiceEnum” enumeration (depending on what method you have declared in the “Method” field) must appear exactly once in the collection of “Services”.]

- Domains Present [JSON Presence]

  - Are the following technical building systems present in the building?

If not, are they mandatory for the new constructions in your country of residence?

1- This domain is present

2- This domain is absent but mandatory

0- This domain is absent and not mandarory

  - Heating (Drop-down list 0,1,2)

  - Domestic Hot Water (Drop-down list 0,1,2)

  - Cooling (Drop-down list 0,1,2)

  - Ventilation (Drop-down list 0,1,2)

  - Lighting (Drop-down list 0,1,2)

  - Dynamic Building Envelop (Drop-down list 0,1,2)

  - Electricity (Drop-down list 0,1,2)

  - Electric Vehicle Charging (Drop-down list 0,1,2)

  - Monitoring and Control (Drop-down list 0,1,2)

- Assessment Date

  - Date (Input Field(Date))

Weighting Setting Section Tab (optional)

- Before navigating to the domain-specific dashboard, if "User-defined" or "Non-EU" is selected, the system will display an intermediate Weighting Settings section.

- This section is organized into two hierarchical levels to ensure full alignment with the SRI framework:

- Level 1: Impact Weighting   [JSON ImpactWeightings 0-1]

  - The sum of all 7 fields must be exactly 100% to proceed.

    - Optimise energy efficiency and overall in-use performance.

      - Energy efficiency (Input Field(%))

      - Maintenance and fault prediction (Input Field(%))

    - Adapt its operation to the needs of the occupant

      - Comfort (Input Field(%))

      - Convenience (Input Field(%))

      - Health, well-being and accessibility (Input Field(%))

      - Information to occupants. (Input Field(%))

    - Adapt to signals from the grid (energy flexibility)

      - Energy flexibility and storage. (Input Field(%))

  - default values set to zero, forcing the user to fill them in

- Level 2: Domain Weighting per Impact Category (Multi-tabbed)  [JSON DomainWeightings 0-1]

  - For each of the 7 Impact Categories listed above the user assigns weights to the Domains:

    - Heating (Input Field(%))

    - Domestic Hot Water (Input Field(%))

    - Cooling (Input Field(%))

    - Ventilation (Input Field(%))

    - Lighting ((Input Field(%))

    - Dynamic Building Envelopr (Input Field(%))

    - Electricity (Input Field(%))

    - Electric Vehicle Charging (Input Field(%))

    - Monitoring and Control (Input Field(%))

  - The sum in each sub-tab is presented and must be 100%.

  - default values set to zero, forcing the user to fill them in

- The "Next" button remains disabled until all levels (Pillars, Impacts, and Domain-Impact sets) independently satisfy the 100% sum requirement.

Domains multi-tabbed dashboard

- Following the “General Information’s section (or the weighting setting section for some users), the interface will navigate to a multi-tabbed dashboard (e.g., Heating, DHW, etc.)

- The visibility of these tabs is determined by the "Domain Present" status selected in the General Information section: [JSON Level]

  - If 1 (Present): The domain tab is fully visible and interactive.

  - If 2 (Absent but Mandatory): The domain tab is hidden. The system flags the domain as ¨Absent but Mandatory¨ in the JSON (Presence: 2). – we will have the values only as readable for the user

  - If 0 (Absent and Not Mandatory): The domain tab is hidden and entirely excluded from the calculation.

  - Otherwise -1 based on the switch bellow

- The content within these tabs is dynamic. The system will display specific service categories and level descriptions based on the user's SRI Method selection

- Certain categories remain hidden if Method A is selected (e.g. H2d: Sequencing of different heat generators)

- For services appearing in both methods, the dropdown text for functionality levels will update to match the specific technical definitions of the selected Method.

- Each category starts with a Yes/No switch button labeled "Applicable."

  - If No: The category is excluded from the calculation.

    - Affect Maximum Obtainable Score? (Checkbox) ." [JSON Triage]

    - Functionality Level: -1 [JSON Level -1]

    - Compliance (Share %): 100% [JSON Compliance 1]

    - (“Functionality level-1 corresponds to not applicable service. If that is the case, then the compliance must be 100% for that level, and no other functionality level can appear.”)

  - If Yes: [JSON Compliance 0-1]

    - A drop-down list with the levels and a "Share %" input field (default value: 100) are revealed.

    - If the user enters a " Compliance " value of less than 100%, the system automatically generates a new row (Drop-down list + Share Input) to account for the remaining percentage.

    - This process repeats (adding Level + Compliance sets) as long as the cumulative " Compliance " total is less than 100%.

    - The system must prevent the user from moving to the next domain tab if the cumulative Compliance % of the current domain is not exactly 100%

    - [JSON Triage=True]

Please find attached the “sri_fields” Excel file detailing the functional levels for each Smart Readiness Indicator (SRI) category. These levels are intended to be used as the options for the drop-down lists

Results tab

After the data collection and calculation process, the platform displays the final SRI assessment. The results are presented in three levels of detail:

- Overall SRI Score [JSON TotalScore]

  - SRI Rating (%): A single percentage representing the building's overall smart readiness.

  - Performance Class: A visual label (A to G) based on the overall percentage (similar to energy labels).

- Impact Scores [JSON ImpactScores]

  - A detailed table or/and bar chart presenting the scores for each impact

- Domain Scores [JSON DomainScores]

  - A detailed table or/and bar chart presenting the scores for each domain

- Detailed Score [JSON DetailedScores]

  - A detailed table (domain, impact) or/and heat map presenting the scores for each domain, impact set

- Aggregated Scores [JSON AggregatedScores]

  - A detailed table of the scores