Tab 1: Calculation and Ground Settings

- Time Period

  - Begin Date (Date) [JSON runPeriod -> beginMonth]  [JSON runPeriod -> beginDayOfMonth]

  - End Date (Date) [JSON runPeriod -> endMonth]  [JSON runPeriod -> endDayOfMonth]

- Time Step

  - Number per Hour (Input Field number) [JSON timeStep -> numberPerHour]

- Ground Tempature Calculation Properties

  - Ground Tempature Calculation Properties Name --mandatory

  - External Walls Thickness (Input Field (m)) [JSON groundTemperatureCalculationProperties -> externalWallsThickness]

  - Exposed Perimeter (Input Field (m)) [JSON groundTemperatureCalculationProperties -> exposedPerimeter]

  - Annual Mean Internal Temperature (Input Field (°C)) [JSON groundTemperatureCalculationProperties -> annualMeanInternalTemperature]

  - Amplitude of Internal Temperature Variations (Input Field number) [JSON amplitudeOfInternalTemperatureVariations]

  - Month of Minimum External Temperature (Drop-down list (Month)) [JSON groundTemperatureCalculationProperties -> minExternalTemperatureMonth]

  - Linear Thermal Transmittance (Input Field number) [JSON linearThermalTrasmittance]

  - Conductivity (Input Field number) [JSON groundTemperatureCalculationProperties -> conductivity]

  - Heat Capacity (Input Field number) [JSON groundTemperatureCalculationProperties -> heatCapacity]

Tab 2: Materials & Constructions

- Sub-tab A: Materials

  - [ + ] Add Material

    - Material Name (Input Field (text)) –mandatory!![JSON materialOpaque -> id]

    - Roughness (Drop-down list??: VeryRough, Rough, MediumRough, MediumSmooth, Smooth, VerySmooth etc) [JSON materialOpaque -> roughness]

    - Thickness (Input Field (m)) [JSON materialOpaque -> thickness]

    - Conductivity (Input Field (integer) [JSON materialOpaque -> conductivity]

    - Density (Input Field (kg/m³)) [JSON materialOpaque -> density]

    - Specific Heat (Input Field (J/kgK)) [JSON materialOpaque -> specificHeat]

- Sub-tab B: Glazing Systems

  - [ + ] Add Glazing System

    - Glazing (Input Field (text)) –mandatory!! [JSON subsurface -> constructionId] [JSON glazingSimpleSystem -> id]

    - U-Factor (Input Field (number)) [JSON glazingSimpleSystem -> uFactor]

    - Solar Heat Gain Coefficient  (Input Field (numeric 0-1)) [JSON glazingSimpleSystem -> solarHeatGainCoefficient]

    - Visible Transmittance (Input Field (numeric 0-1)) [JSON glazingSimpleSystem -> visibleTransmittance]

- Sub-tab C: Constructions

  - [ + ] Add Construction

    - Construction (Input Field (text)) – mandatory!![JSON surface -> constructionId] [JSON construction -> id]

    - Construction Class (Drop-down: Mass concentrated at internal, Mass equally distributed etc) [JSON construction -> constructionClass]

    - Layers Configuration:

      - Outside Layer ( Layer 1) (Drop-down: Material IDs or Names of Section A and B) [JSON construction -> outsideLayerMaterialId]

      - [ + ] Add Layer (Layer 2 etc)

- Sub-tab D: Schedules

  - [ + ] Add Schedule

    - Schedule Name(Input Field (text)) ---mandatory!!!

    - Type (Input Field (text))

    - Value (Input Field (number)) [JSON: scheduleConstant -> hourlyValue]

    - [JSON: scheduleConstant -> ID] based on Type and Value

- Sub-tab E: Controls (Thermostats & Humidistats)

  - [ + ] Add Thermostat

    - Thermostat (Input Field (text)) ---mandatory!!! (Input Field (text)) [JSON thermostat -> id]

    - Constant Heating Setpoint (Input Field (°C)) [JSON constantHeatingSetpoint]

    - Cooling Setpoint Schedule (Drop-down: Linked to Schedules) [JSON coolingSetpointSchedule]

  - [ + ] Add Humidistat

    - Humidistat (Input Field (text)) ---mandatory!!! ID (Input Field (text)) [JSON humidstat -> id]

    - Constant Dehumidification Setpoint (Input Field (%)) [JSON constantDehumidificationSetpoint]

    - Constant Humidification Setpoint (Input Field (%)) [JSON constantHumidificationSetpoint]

Tab 3: Thermal Zone

- [ + ] Add Thermal Zone

- Thermal Zone: [Name/ID]

  - Some of the below, must contain the zone id (if needed) based on the Json formats

  - Zone (Input Field (text)) or automatically generated ID [JSON zone -> id]

  - Type (Input Field (text)) [JSON zone -> id]

  - Volume (Input Field (number)) [JSON zone -> volume]

  - Floor Area (Input Field (number)) [JSON zone -> floorArea]

  - Occupancy - People Gains:

    - automatically generated ID [JSON thermalZonePeopleGains -> id]

    - Number of People Schedule(Drop-down: Linked to Schedules in tab 2) [JSON thermalZonePeopleGains -> numberOfPeopleSchedule]

    - Number of People Calculation Method(Drop-down????: people etc) [JSON thermalZonePeopleGains -> numberOfPeopleSchedule]

    - Number of People (Input (numeric>=0)) [JSON thermalZonePeopleGains -> numberOfPeople]

    - Activity Level Schedule (Drop-down: Linked to Schedules in tab 2)[JSON thermalZonePeopleGains -> activityLevelSchedule]

    - Fraction Radiant (Input Field (0-1)) [JSON thermalZonePeopleGains -> fractionRadiant]

  - Equipment Gains:

    - Equipment Gains automatically generated ID [JSON thermalZoneEquipmentGains -> id]

    - Fuel Type (Drop-down: e.g. Electricity) [JSON thermalZoneEquipmentGains -> fuelType]

    - Schedule(Drop-down: Linked to Schedules of tab2) [JSON thermalZoneEquipmentGains -> schedule]

    - Design Level Calculation Method(Drop-down list) [JSON thermalZoneEquipmentGains -> designLevelCalculationMethod]

    - Design Level (Input Field (number)) [JSON thermalZoneEquipmentGains -> designLevel]

    - Fraction Latent (Input Field (number)) [JSON thermalZoneEquipmentGains -> fractionLatent]

    - Fraction Radiant (Input Field (number)) [JSON thermalZoneEquipmentGains -> fractionRadiant]

    - Fraction Lost (Input Field (number)) [JSON thermalZoneEquipmentGains -> fractionLost]

- Operational Data (Thermostat, Humidistat & Ventilation)

  - Thermal Zone Needs System:

    - Needs System automatically generated ID [JSON thermalZoneNeedsSystem -> id]

    - Max Heating Power (Input Field (number)) [JSON thermalZoneNeedsSystem -> maxHeatingPower]

    - Max Cooling Power (Input Field (number)) [JSON thermalZoneNeedsSystem -> maxCoolingPower]

    - Select Thermostat (Drop-down list for tab2)

    - Select humidstat (Drop-down list for tab2)

  - Ventilation:

    - Ventilation automatically generated ID (Input (text)) [JSON thermalZoneVentilationDesignFlowRate -> id]

    - Ventilation Method (Drop-down list) [JSON thermalZoneVentilationDesignFlowRate -> calculationMethod]

    - Air Changes Per Hour (Input Field (numeric)) [JSON thermalZoneVentilationDesignFlowRate -> airChangesPerHour]

    - Ventilation Schedule (Drop-down: Linked to Schedules from tab2) [JSON thermalZoneVentilationDesignFlowRate -> scheduleId]

  - Surfaces & Geometry

    - [ + ] Add Surface (Context: Linked to a specific Thermal Zone)

      - Surface automatically generated ID [JSON surface -> id]

      - Surface Type (Drop-down: Wall, Roof, Floor etc) [JSON surface -> surfaceType]

      - Construction ID (Drop-down: Linked to Tab 2 Constractions ID or Name) [JSON surface -> constructionId]

      - Outside Boundary Condition (Drop-down: Outdoors, Ground, etc.) [JSON surface -> outsideBoundaryCondition]

      - If Outside Boundary Condition ==’Ground’

        - Select  Ground Temperature Calculation Properties (drop-down list from Ground Tempature Calculation Properties Name of tab 1) [ JSON surface->groundTemperatureCalculationPropertiesId

      - Area (Input Field (m²)) [JSON surface -> area]

      - Height (Input Field (m)) [JSON surface -> height]

      - Azimuth Angle (Input Field (degrees)) [JSON surface -> azimuth_angle]

      - Tilt Angle (Input Field (degrees)) [JSON surface -> tilt_angle]

      - [ + ] Add Sub-surface (Openings)

- Sub-surface automatically generated ID [JSON subsurface -> id]

- Sub-surface Type (Drop-down: Window, Door etc) [JSON subsurface -> surfaceType]

- Construction (Drop-down: Linked to Tab 2 Constractions ID or Name) [JSON subsurface -> constructionId]

- Area (Input Field (m²)) [JSON subsurface -> area]

- Height (Input Field (m)) [JSON subsurface -> height]

- Azimuth Angle (Input Field (degrees)) [JSON subsurface -> azimuth_angle]

- Tilt Angle (Input Field (degrees)) [JSON subsurface -> tilt_angle]

Tab 4: Spaces

- [+] Space

- Space (Input Field (text)) or automatically generated ID (Input (text)) [JSON space -> id]

- Select Thermal Zone [Drop-down list of tab3 thermal zones)

- Volume (Input Field (number)) [JSON zone -> volume]

- Floor Area (Input Field (number)) [JSON zone -> floorArea]